## Fire System Impairment Notification Form

| Company: |  |  | This form to be faxed or emailed to: |
| --- | --- | --- | --- |
| Site Name: |  |  |  | Broker/Insurer |
| Address: |  |  |  | Fax: |
| Contact: |  |  |  | Email: |
| Telephone: |  |
| Fax/email: |  |

Instructions: Planning: All impairments are to be planned so that duration of impairment kept to a minimum e.g. all necessary parts should be sourced and assembled prior to installation. Impairment: Prior to Impairment complete Part A and fax or email using the above details. Time Limits: This notification should be completed 72 hours prior to planned impairment; and as soon as possible in the event of an emergency impairment. Restoration: Once work is complete and system restored, complete Part B and resend. This form should be retained on site for possible review.

Part A: Notification of Impairment

| Date of Notification: ____/____/____ Completed By: |
| --- |
| Equipment impaired (circle): |
| Sprinklers | Water Tank | Gaseous Suppression System |
| Fire Pumps | Public Water Supply | Detection System |
| Underground Main | Alarm System | Other (detail): |

Affected area(s) – Specify location and occupancy involved:

Reason(s) for and description of impairment:

Date and time of the isolation: ____/____/____ _____am/pm Date and anticipated time of restoration: ____/____/____ _____am/pm

Safety Precautions Taken:

| Management, staff and contractors notified | Hot work suspended |
| --- | --- |
| Fire brigade notified | 24 hour occupancy |
| Patrol rounds/fire watch | Smoking prohibited |
| Emergency water supply | Additional equipment: |
| Hazardous operations prohibited | Other(s): |
| System reinstated each night |  |

Part B: Notice of Restoration

Date and time of restoration: ____/____/____ _____am/pm Comments: