## Sample Hot Work Permit

| Section A: To be completed prior to work | Checks / Precautions (Tick if adequate) |
| --- | --- |
| Permit ID Number: | Assessment of Activity No alternative to hot work No practical means of relocating the hot-work activities to a safer area No insulated sandwich panel will be worked upon or lie directly adjacent to the hot-work activities conducted Area Preparation Work area is clear of flammable liquids, gases or vapours and combustible materials. Floors swept clean Fire resistive barriers deployed – i.e. barricades, warning signs, spark and flash screens in place. Area secure Area adequately ventilated Fire Protection Sprinklers in service (where installed) Detection systems isolated and impairment form completed. Portable extinguishers and fire hose reels available Firewatch If required, has a firewatcher been organised Firewatcher appropriately trained |
| Location of work: |  |
| Description of work: |  |
| Equipment to be used: |  |
| Date of Issue: ____/____/____ |  |
| Time of issue: * Duration period must not be more than 8 hrs |  |
| Permit Begins | Permit Expires |  |
| Date: ____/____/____ | Date: ____/____/____ |  |
| Time: ________ am / pm | Time: _________am / pm |  |
| Area Gas Testing |  |
| * Test for the presence of flammable gas and flammable vapour within 15metres from the hot work area. |  |
| Date of test: | ____/____/____ |  |
| Time of test: | _________am / pm |  |
| Percentage of L.E.L Detected: |  |  |
| Is hot-work safe to proceed: | ( Yes | ( No |  |
| Testing Officer (Print full name): |  |  |
| Signature of Testing Officer: |  |  |
| The following conditions and precautions were observed: ___________________________________________________________________________________________________________ ___________________________________________________________________________________________________________ |
| Operator (Print full name): | Signature of Operator: |
| Fire Watch (Print full name): | Signature of Fire Watch: |
| Responsible Officer (Print full name): | Signature of Responsible Officer: |
| Section B: To be completed after work |
| The worksite has been inspected by me at the expiry of this hot-work permit and declared safe for normal operations to resume. |
| ___________________________________________________________ (Print Full Name): | _________________________________ (Signature): |