## Workplace Inspection Checklist

| Date |  |
| --- | --- |
| Time |  |
| Area |  |
| Inspector/s |  |
| The Inspectors shall not limit themselves to only those items on the checklist rather the entire work area should be reviewed for all health and safety hazards. |
| Tick box if situation controlled Cross box if situation requires attention. Complete Corrective Action Report for issues which cannot be corrected immediately. |
|  | Previous Corrective Action Report reviewed | YES | NO |

| Categories | (( | Comments |
| --- | --- | --- |
| Floors |
| Floors even and in good condition |  |  |
| No slips, trips or fall hazards |  |  |
| Clear of oil/grease/other liquids |  |  |
| Clear of stock/materials |  |  |
| Doorways |
| Not obstructed |  |  |
| Correctly signed |  |  |
| Fire doors not propped open, blocked or locked |  |  |
| Stairways/Steps |
| Adequate Illumination |  |  |
| Free of trip, slip and fall hazards |  |  |
| Steps deep enough and anti-slip treads |  |  |
| Handrails in good condition |  |  |
| No broken/chipped edges |  |  |
| Landings clear of obstructions |  |  |
| Storage Areas |
| Floor free of objects |  |  |
| No evidence of damage to storage racks |  |  |
| Ease of accessing objects |  |  |
| No evidence of inappropriate lifting |  |  |
| Appropriate step ladders(s) available |  |  |
| Toilets/Washrooms |
| Hygienic and Tidy |  |  |
| Adequate ventilation |  |  |
| Suitable hand washing and drying facilities |  |  |
| Fire Equipment |
| Not obstructed |  |  |
| Correctly signed and positioned |  |  |
| Locking devices/seal unbroken |  |  |
| Inspection tags present and checked within 6 months |  |  |
| Exit Lights working. |  |  |
| Emergency Lights working |  |  |
| Fire Alarms working |  |  |
| Power Outlets, Cords and Boards |
| No double adaptors |  |  |
| No piggy back plugs |  |  |
| Power cords covered if across walkways (trip hazard) |  |  |
| Electrical services appear in good condition |  |  |
| Earth Leakage Protection |  |  |
| Switchboards free of obstruction, storage or waste material |  |  |
| Ladder and Steps |
| Rubber safety feet fitted |  |  |
| No broken or missing rungs or other defects |  |  |
| Work Benches/Desks |
| Clear and uncluttered |  |  |
| Sufficient space |  |  |
| Work height comfortable |  |  |
| No sharp edges |  |  |
| Drawers closed |  |  |
| Broken pallets/loose boards |  |  |
| Machinery / Equipment |
| Securely placed (not able to fall) |  |  |
| No sharp edges |  |  |
| No exposed power/energy sources |  |  |
| Noise levels controlled |  |  |
| Staff trained in correct use |  |  |
| Pre-operating instructions available |  |  |
| Warnings and instructions displayed |  |  |
| Office chairs height and back adjustments - 5 star base |  |  |
| Even weight distribution filing cabinets |  |  |
| No damage to furniture/fittings |  |  |
| Work Practices |
| Correct use of P.P.E. |  |  |
| Smoking rules adhered to |  |  |
| Correct manual handling procedure |  |  |
| Clear aisle access |  |  |
| Evacuation procedure known |  |  |
| Evacuation Procedure Practiced |  |  |
| First Aid Attendant(s) known |  |  |
| First aid kit adequately stocked and clearly marked. |  |  |
| Hazard and incident reporting procedure known |  |  |
| Chemicals |
| M.S.D.S. available at point of use |  |  |
| Correct labelling |  |  |
| Hazardous liquids adequately bunded |  |  |
| Gas bottles adequately secured |  |  |
| No leaking containers |  |  |
| Chemical spill equipment available |  |  |
| Grounds |
| No pot holes/open drains/ raised drain grates |  |  |
| Handrails and bollards installed where required |  |  |
| Level Paving |  |  |
| Vegetation kept under control |  |  |
| No pedestrian/vehicle blind spots |  |  |
| Compliance with parking rules |  |  |
| Regular removal of waste |  |  |
| Correct storage of waste – away from building |  |  |
| EPS Sandwich Panels |
| No evidence of damaged panel |  |  |
| All penetrations adequately repaired |  |  |
| Core material not exposed |  |  |

| Corrective Actions |
| --- |
| Action | Person Responsible | Date Completed | Initials |

Have all faults been reported to the Business Unit Manager?	Y / N

Have corrective actions been raised for all deficiencies?	Y / N

Have all deficiencies from previous inspection been rectified?	Y / N

Details:

Inspector’s Signature: 	 Date:	___/___/___

Manager’s Signature: 	 Date:	___/___/___